## Total Values
Name | Rob | O'Connor
Email | rob.oconnor@sefaira.com
Company Name | Sefaira, Inc.
Date | Thu Nov 30 2017 16:45:15 GMT+0000 (GMT Standard Time)
Project link | https://apps.sefaira.com/page/project/150787
Project Name | SD demo
Iteration Name | BETTER DESIGN
Dry Bulb Comfort Criteria | 0.98 | % of hours within setpoint range
Number of Zones Passing | 0
Number of Zones Failing | 45
Number of Zones Ignored | 0
DRY BULB TEMPERATURE RESULTS - ZONE BREAKDOWN
Floor | Zone | Zone Type | Space Use | Floor Area | Heating Setpoint - Occupied Hours | Cooling Setpoint - Occupied Hours | % of occupied hours Comfortable | % of occupied hours too cold | % of occupied hours too hot | % over / under target | Pass/Fail
|  | (Perimeter or Core Zone) |  | m2 | °C | °C | % | % | % | %
3 | P01 | Perimeter | Space Use Values | 43 | 21 | 24 | 0.89 | 0 | 0.1 | 0.08 | fail
3 | P02 | Perimeter | Space Use Values | 83 | 21 | 24 | 0.92 | 0 | 0.06 | 0.05 | fail
3 | P03 | Perimeter | Space Use Values | 72 | 21 | 24 | 0.93 | 0 | 0.06 | 0.04 | fail
3 | P04 | Perimeter | Space Use Values | 93 | 21 | 24 | 0.92 | 0.02 | 0.05 | 0.05 | fail
3 | P05 | Perimeter | Space Use Values | 58 | 21 | 24 | 0.92 | 0 | 0.06 | 0.05 | fail
3 | P06 | Perimeter | Space Use Values | 48 | 21 | 24 | 0.93 | 0.01 | 0.05 | 0.04 | fail
3 | P07 | Perimeter | Space Use Values | 54 | 21 | 24 | 0.91 | 0.02 | 0.05 | 0.06 | fail
3 | P08 | Perimeter | Space Use Values | 54 | 21 | 24 | 0.93 | 0 | 0.05 | 0.04 | fail
3 | P09 | Perimeter | Space Use Values | 55 | 21 | 24 | 0.92 | 0 | 0.07 | 0.05 | fail
3 | P10 | Perimeter | Space Use Values | 62 | 21 | 24 | 0.93 | 0 | 0.05 | 0.04 | fail
3 | P11 | Perimeter | Space Use Values | 45 | 21 | 24 | 0.93 | 0.01 | 0.05 | 0.04 | fail
3 | P12 | Perimeter | Space Use Values | 35 | 21 | 24 | 0.93 | 0.01 | 0.05 | 0.04 | fail
3 | P13 | Perimeter | Space Use Values | 515 | 21 | 24 | 0.93 | 0.01 | 0.05 | 0.04 | fail
3 | P14 | Perimeter | Space Use Values | 33 | 21 | 24 | 0.93 | 0 | 0.05 | 0.04 | fail
3 | P15 | Perimeter | Space Use Values | 61 | 21 | 24 | 0.92 | 0.02 | 0.05 | 0.05 | fail
2 | P01 | Perimeter | Space Use Values | 43 | 21 | 24 | 0.89 | 0 | 0.1 | 0.08 | fail
2 | P02 | Perimeter | Space Use Values | 83 | 21 | 24 | 0.92 | 0 | 0.06 | 0.05 | fail
2 | P03 | Perimeter | Space Use Values | 72 | 21 | 24 | 0.93 | 0 | 0.06 | 0.04 | fail
2 | P04 | Perimeter | Space Use Values | 93 | 21 | 24 | 0.92 | 0.02 | 0.05 | 0.05 | fail
2 | P05 | Perimeter | Space Use Values | 58 | 21 | 24 | 0.92 | 0 | 0.06 | 0.05 | fail
2 | P06 | Perimeter | Space Use Values | 48 | 21 | 24 | 0.92 | 0.01 | 0.06 | 0.05 | fail
2 | P07 | Perimeter | Space Use Values | 54 | 21 | 24 | 0.91 | 0.03 | 0.05 | 0.06 | fail
2 | P08 | Perimeter | Space Use Values | 54 | 21 | 24 | 0.93 | 0 | 0.05 | 0.04 | fail
2 | P09 | Perimeter | Space Use Values | 55 | 21 | 24 | 0.92 | 0 | 0.07 | 0.05 | fail
2 | P10 | Perimeter | Space Use Values | 62 | 21 | 24 | 0.93 | 0 | 0.06 | 0.04 | fail
2 | P11 | Perimeter | Space Use Values | 45 | 21 | 24 | 0.93 | 0.01 | 0.05 | 0.04 | fail
2 | P12 | Perimeter | Space Use Values | 35 | 21 | 24 | 0.93 | 0.01 | 0.05 | 0.04 | fail
2 | P13 | Perimeter | Space Use Values | 515 | 21 | 24 | 0.92 | 0.02 | 0.05 | 0.05 | fail
2 | P14 | Perimeter | Space Use Values | 33 | 21 | 24 | 0.93 | 0 | 0.05 | 0.04 | fail
2 | P15 | Perimeter | Space Use Values | 61 | 21 | 24 | 0.92 | 0.02 | 0.05 | 0.05 | fail
1 | P01 | Perimeter | Space Use Values | 43 | 21 | 24 | 0.9 | 0 | 0.09 | 0.07 | fail
1 | P02 | Perimeter | Space Use Values | 83 | 21 | 24 | 0.92 | 0 | 0.06 | 0.05 | fail
1 | P03 | Perimeter | Space Use Values | 72 | 21 | 24 | 0.93 | 0 | 0.06 | 0.04 | fail
1 | P04 | Perimeter | Space Use Values | 93 | 21 | 24 | 0.92 | 0.02 | 0.05 | 0.05 | fail
1 | P05 | Perimeter | Space Use Values | 58 | 21 | 24 | 0.93 | 0 | 0.06 | 0.04 | fail
1 | P06 | Perimeter | Space Use Values | 48 | 21 | 24 | 0.93 | 0 | 0.06 | 0.04 | fail
1 | P07 | Perimeter | Space Use Values | 54 | 21 | 24 | 0.92 | 0.02 | 0.05 | 0.05 | fail
1 | P08 | Perimeter | Space Use Values | 54 | 21 | 24 | 0.93 | 0 | 0.05 | 0.04 | fail
1 | P09 | Perimeter | Space Use Values | 55 | 21 | 24 | 0.92 | 0 | 0.07 | 0.05 | fail
1 | P10 | Perimeter | Space Use Values | 62 | 21 | 24 | 0.93 | 0 | 0.06 | 0.04 | fail
1 | P11 | Perimeter | Space Use Values | 45 | 21 | 24 | 0.94 | 0 | 0.05 | 0.03 | fail
1 | P12 | Perimeter | Space Use Values | 35 | 21 | 24 | 0.93 | 0.01 | 0.05 | 0.04 | fail
1 | P13 | Perimeter | Space Use Values | 33 | 21 | 24 | 0.93 | 0 | 0.05 | 0.04 | fail
1 | P14 | Perimeter | Space Use Values | 515 | 21 | 24 | 0.92 | 0.01 | 0.05 | 0.05 | fail
1 | P15 | Perimeter | Space Use Values | 61 | 21 | 24 | 0.92 | 0.02 | 0.05 | 0.05 | fail
DRY BULB TEMPERATURE RESULTS - FLOOR BREAKDOWN
Floor | Number of Zones Passing | Number of Zones Failing | Number of Zones Ignored | Total Number of Zones
1 | 0 | 15 | 0 | 15
2 | 0 | 15 | 0 | 15
3 | 0 | 15 | 0 | 15
TOTAL | 0 | 45 | 0 | 45