## Total Use Values
Name | Rob | O'Connor
Email | rob.oconnor@sefaira.com
Company Name | Sefaira, Inc.
Date | Thu Nov 30 2017 16:08:11 GMT+0000 (GMT Standard Time)
Project link | https://apps.sefaira.com/page/project/150787
Project Name | SD demo
Iteration Name | BETTER DESIGN
Conditioned Area | 3,957 | m2
Electricity Cost Tariff | £ 0.16 | per kWh
Gas Cost Tariff | £ 0.05 | per kWh
Electricity CO2e Tariff | 0.519 | kg per kWh
Gas CO2e Tariff | 0.216 | kg per kWh
ENERGY RESULTS - MONTHLY USE BREAKDOWN
| Heating (kWh) |  |  | Cooling (kWh) |  |  | Fans (kWh) |  | Interior (kWh) |  | Pumps (kWh) | Other (kWh) | Total (kWh)
Month | AHU | Humidification | Zones | AHU | Heat Rejection | Zones | AHU | Zones | Lighting | Equipment
January | 1 | 0 | 5975 | 60 | 0 | 13 | 2433 | 219 | 4174 | 6956 | 379 | 0 | 20210
February | 1 | 0 | 4247 | 100 | 0 | 22 | 2212 | 149 | 3789 | 6315 | 346 | 0 | 17181
March | 0 | 0 | 2208 | 222 | 0 | 50 | 2544 | 80 | 4323 | 7206 | 450 | 0 | 17083
April | 0 | 0 | 908 | 433 | 0 | 97 | 2212 | 53 | 3846 | 6410 | 469 | 0 | 14428
May | 0 | 0 | 76 | 1281 | 21 | 287 | 2544 | 96 | 4323 | 7206 | 642 | 0 | 16476
June | 0 | 0 | 0 | 2314 | 194 | 518 | 2433 | 180 | 4145 | 6909 | 739 | 0 | 17432
July | 0 | 0 | 0 | 2786 | 315 | 624 | 2323 | 253 | 4024 | 6707 | 830 | 0 | 17862
August | 0 | 0 | 0 | 2524 | 223 | 565 | 2544 | 232 | 4323 | 7206 | 849 | 0 | 18466
September | 0 | 0 | 1 | 1538 | 64 | 344 | 2323 | 106 | 3996 | 6660 | 621 | 0 | 15653
October | 0 | 0 | 139 | 1045 | 15 | 234 | 2433 | 43 | 4174 | 6956 | 562 | 0 | 15601
November | 0 | 0 | 1592 | 401 | 2 | 90 | 2433 | 60 | 4145 | 6909 | 470 | 0 | 16102
December | 1 | 0 | 3403 | 175 | 0 | 39 | 2323 | 120 | 4024 | 6707 | 399 | 0 | 17191
Annual Total | 3 | 0 | 18549 | 12879 | 834 | 2883 | 28757 | 1591 | 49286 | 82147 | 6756 | 0 | 203685
COST RESULTS - MONTHLY USE BREAKDOWN
| Heating (£) |  |  | Cooling (£) |  |  | Fans (£) |  | Interior (£) |  | Pumps (£) | Other (£) | Total (£)
Month | AHU | Humidification | Zones | AHU | Heat Rejection | Zones | AHU | Zones | Lighting | Equipment
January | 0 | 0 | 305 | 9 | 0 | 2 | 384 | 35 | 659 | 1099 | 60 | 0 | 2553
February | 0 | 0 | 217 | 16 | 0 | 4 | 349 | 24 | 599 | 998 | 55 | 0 | 2262
March | 0 | 0 | 113 | 35 | 0 | 8 | 402 | 13 | 683 | 1139 | 71 | 0 | 2464
April | 0 | 0 | 46 | 68 | 0 | 15 | 349 | 8 | 608 | 1013 | 74 | 0 | 2181
May | 0 | 0 | 4 | 202 | 3 | 45 | 402 | 15 | 683 | 1139 | 101 | 0 | 2594
June | 0 | 0 | 0 | 366 | 31 | 82 | 384 | 28 | 655 | 1092 | 117 | 0 | 2755
July | 0 | 0 | 0 | 440 | 50 | 99 | 367 | 40 | 636 | 1060 | 131 | 0 | 2823
August | 0 | 0 | 0 | 399 | 35 | 89 | 402 | 37 | 683 | 1139 | 134 | 0 | 2918
September | 0 | 0 | 0 | 243 | 10 | 54 | 367 | 17 | 631 | 1052 | 98 | 0 | 2472
October | 0 | 0 | 7 | 165 | 2 | 37 | 384 | 7 | 659 | 1099 | 89 | 0 | 2449
November | 0 | 0 | 81 | 63 | 0 | 14 | 384 | 10 | 655 | 1092 | 74 | 0 | 2373
December | 0 | 0 | 174 | 28 | 0 | 6 | 367 | 19 | 636 | 1060 | 63 | 0 | 2353
Annual Total | 0 | 0 | 947 | 2034 | 131 | 455 | 4541 | 253 | 7787 | 12982 | 1067 | 0 | 30197
CO2e RESULTS - MONTHLY USE BREAKDOWN
| Heating (kgCO2e) |  |  | Cooling (kgCO2e) |  |  | Fans (kgCO2e) |  | Interior (kgCO2e) |  | Pumps (kgCO2e) | Other (kgCO2e) | Total (kgCO2e)
Month | AHU | Humidification | Zones | AHU | Heat Rejection | Zones | AHU | Zones | Lighting | Equipment
January | 1 | 0 | 1290 | 31 | 0 | 7 | 1263 | 114 | 2166 | 3610 | 197 | 0 | 8679
February | 0 | 0 | 917 | 52 | 0 | 12 | 1148 | 77 | 1967 | 3278 | 180 | 0 | 7631
March | 0 | 0 | 477 | 115 | 0 | 26 | 1320 | 41 | 2244 | 3740 | 234 | 0 | 8197
April | 0 | 0 | 196 | 225 | 0 | 50 | 1148 | 27 | 1996 | 3327 | 243 | 0 | 7212
May | 0 | 0 | 16 | 665 | 11 | 149 | 1320 | 50 | 2244 | 3740 | 333 | 0 | 8528
June | 0 | 0 | 0 | 1201 | 101 | 269 | 1263 | 93 | 2151 | 3586 | 384 | 0 | 9048
July | 0 | 0 | 0 | 1446 | 163 | 324 | 1205 | 131 | 2089 | 3481 | 431 | 0 | 9270
August | 0 | 0 | 0 | 1310 | 116 | 293 | 1320 | 120 | 2244 | 3740 | 440 | 0 | 9583
September | 0 | 0 | 0 | 798 | 33 | 179 | 1205 | 55 | 2074 | 3456 | 322 | 0 | 8122
October | 0 | 0 | 30 | 542 | 8 | 121 | 1263 | 22 | 2166 | 3610 | 292 | 0 | 8054
November | 0 | 0 | 344 | 208 | 1 | 47 | 1263 | 31 | 2151 | 3586 | 244 | 0 | 7875
December | 0 | 0 | 735 | 91 | 0 | 20 | 1205 | 62 | 2089 | 3481 | 207 | 0 | 7890
Annual Total | 1 | 0 | 4005 | 6684 | 433 | 1497 | 14923 | 823 | 25581 | 42635 | 3507 | 0 | 100089