# Cafeteria retrofit daylighting study

|  |  | 115 E 23rd St, 11th Floor, New York, NY 10010 646-519-3254 ¦ info@sefaira.com ¦ sefaira.com |
| --- | --- | --- |

BASE CASE – NO SHADING

|  | Problem: The cafeteria receives too much daylight in some areas making spaces uncomfortable during occupied hours. The client would like to investigate adding shading to improve the daylight levels. |
| --- | --- |

# Cafeteria retrofit daylighting study

|  |  | 115 E 23rd St, 11th Floor, New York, NY 10010 646-519-3254 ¦ info@sefaira.com ¦ sefaira.com |
| --- | --- | --- |

SHADING OPTION 1

|  | - 2.2’ shades over south facing windows - Shades over lower south facing windows are angled at 15° - 2.2’ shades over east facing lower windows |
| --- | --- |

# Cafeteria retrofit daylighting study

|  |  | 115 E 23rd St, 11th Floor, New York, NY 10010 646-519-3254 ¦ info@sefaira.com ¦ sefaira.com |
| --- | --- | --- |

SHADING OPTION 2

|  | - 4’ shade over south facing windows located 1’ from roof height angled at 15° - 3’ shade over lower east facing windows are angled at 25° |
| --- | --- |